## Selected Electrical Incidents and Occurrences

Fourth Quarter – October  to December, 2002

Date & 	Program	Location	Accident Description

MIS ID #

Accidents - Fatal:

There were no fatalities of an electrical nature reported to the Ministry of Labour for the fourth quarter, 2002.

Accidents - Critical:

October 7th	Industrial	Burlington	Worker opened a fused disconnect switch, arc occurred.

1031827						Worker received electrical shock, and severe burns from the

arc.

October 30th	Industrial	Dutton		Worker plugged in a coffee maker, received a severe electrical

1032794						shock.

November 26th	Industrial	Simcoe		Linesman was working on 27.6 kV overhead lines when a

1034115						flash occurred.  Worker burned on left arm in elbow area.

December 12th	Industrial	London		Worker was injecting silicone into elbow connection for cable.

1034436						Worker not wearing gloves at time, cable arced at injection

point.  Worker received burns and electrical contact.  Entry

wound at hand, exit wound at foot.

Accidents - Non-Critical:

October 2nd	Industrial	North York	Electrical contact made while working on overhead wires.

1031637						No further information given.

October 2nd	Industrial	Vaughan		Worker received an electrical shock from 600V equipment.

1031688						No visible signs of injury, no details given as to work being

done or type of equipment involved.

October 3rd	Industrial	Ottawa		Worker doing cleaning inside equipment vault, touched a

1031789						conductor that was still energized.  Lockout procedures had

been followed, energized conductor did not show up in vault’s

wiring diagram.  Worker received burns to right finger and left

elbow.

October 6th	Industrial	Toronto		Worker received electrical burns while replacing an

1032085						emergency power cable.

October 17th	Industrial	Ancaster		Worker received an electrical shock from a toaster.

1032286

October 18th	Industrial	Waterloo	Worker was doing excavating, contacted a 600V buried cable.

1032348						Worker received an electrical shock, received medical

attention.

November 5th	Industrial	Cambridge	Worker received a shock while cleaning a television screen.

1033128						Worker sent to hospital and released.

November 13th	Industrial	Ottawa		Worker received an electrical shock from a blender and taken

1033275						to hospital.  Blender had lots of frayed wires sticking out of it.

November 13th	Industrial	Barrie		Worker was replacing bulbs in a restaurant sign, received a

1033284						110V shock.  Worker was taken to hospital.

November 26th	Industrial	Toronto		Electrician was working on an A/C unit, touched a live wire.

1033748						Received a shock, taken to hospital.

November 29th	Industrial	Burlington	Worker was using a meter to check fuses in a panel, fuse blew.

1034085						Worker thrown backwards, received minor burns to hands and

wrists.

December 2nd	Industrial	Vankleek Hill	Worker used small tester to test on 550V circuit.  Worker

1033956						received shock and burns to hands, taken to hospital.

December 6th	Industrial	Cobourg		Electrician attempting to tighten lugs on line side of 600V

1034216						breaker, screwdriver slipped causing phase to ground fault.

Worker received burns to hands.

December 9th	Industrial	St. Thomas	Worker received an electrical shock from 600V while doing

1034297						work on a robot.  No other details of event given.

December 19th	Construction	Welland		Worker contacted 240V conductor.  Event description stated

1034641						that worker did not lock out, no other details given.

Reportable Incidents - Powerline Contacts:

October 1st	Construction	Dysart		Constructor dug up power line, no locates had been done.

1031587				Township

October 1st	Construction	Burlington	Excavator hit overhead 27 kV power line.

1031600

October 2nd	Construction	Cambridge	Backhoe contacted 28 kV buried cable.

1031729

October 10th	Construction	Waterloo	Contractor digging, hit buried cable.  Cable was within the

1032057						range specified by the locate.

October 15th	Construction	Simcoe		Backhoe dug up a 120/208V buried cable.  No locates done.

1032189

October 15th	Construction	Kanata		Power line hit, no other details given.

1032262

October 17th	Construction	Cardiff		Shovel was doing ditch clearing, boom contacted the

1032296						telephone cable.

October 21st	Construction	Niagara Falls	Backhoe scraped the outside jacket of a 13 kV buried

1032465						cable.

October 21st	Construction	Burlington	Worker swung boom of back-hoe into power line, 8 kV

1032541						contact made.

October 22nd	Industrial	Sudbury		Tree being cut down, fell on power line.

1032488

October 30th	Construction	Hamilton	Crane touched an overhead power line, voltage not given.

10033050

October 31st	Construction	Port Dover	Worker was cutting trees near a power line.  A tree bounced

1032915						other trees and came to rest on the power line.

October 31st	Construction	Pickering	Contractor hit a 16 kV buried cable at a housing development.

1032921

November 1st	Construction	Tilbury		Box of dump truck contacted a power line.

1032959

November 1st	Construction	Brampton	Drilling machine contacted buried power line.

1033110

November 3rd	Construction	Thunder Bay	Backhoe contacted a 14.4 kV buried cable.

1032964

November 5th	Construction	Mississauga	Worker dug into primary cable, no other details given.

1033028

November 5th	Industrial	North Bay	Dump truck pulled down a power line.

1033037

November 7th	Construction	Vaughan		Event listed as power line contact, no other details given.

1033120

November 8th	Mining		Flamborough	Power line contact, no other details given.

1033161

November 8th	Construction	Spanish		Gravel truck knocked down a power line.

1033162

November 9th	Construction	Toronto		Construction crew undermined a pole, causing it to fall over.

1033193

November 11th	Construction	Sault Ste. Marie	Worker was using a jackhammer, cut into a concealed cable.

1033213

November 11th	Construction	Etobicoke	Wind caused a pole to sway and contact a power line.

1033352						Line was 57 inches away from pole.

November 13th	Construction	Pickering	Boring machine contacted a 16 kV buried cable.

1033294

November 15th	Construction	Sudbury		Truck hit power line, no other details given.

1033388

November 20th	Construction	Oakville		Box of dump truck was elevated as the truck started driving

1033567						off down the road.  Box contacted a power line.

November 21st	Construction	Mississauga	Workers were removing timber walls, contacted buried hydro

1033620						lines.

November 25th	Construction	Woodbridge	Contractor was digging, hit a primary cable.  Locates had

1033692						been done.

November 26th	Construction	Houghton	Event classified as an electrical occurrence.

1033784						No other details given.

December 3rd	Industrial	Kapuskasing	Worker was moving a backhoe, struck power and telephone

1034214						lines.

December 6th	Construction	Burlington	Excavator was backing out of a subdivision, contacted 8000V

1034299						power line.

December 10th	Construction	Haldimand	Excavator dug up a buried cable, damaged the transformer

1034317				Township	connected to the cable.

December 11th	Construction	Oakville		Contractor dug up some power cables.

1034466

December 12th	Construction	Vaughan		Worker cut into cables, no other details given.

1034389

December 17th	Industrial	Burlington	Drilling into floor, hit a concealed cable.

1034546

December 19th	Construction	Copetown	House being moved, contacted 4800V overhead line.

1034677

Reportable Incidents - Electrical Equipment:

December 2nd	Construction	Toronto		Workers were removing redundant cables when a fire broke

1034034						out in the cable tray.  A DC cable had faulted to ground.

# DATA SUMMARY - Fourth Quarter

Fatals:		Critical:	Non-criticals:		Powerline	Electrical

Contacts:	Equipment:

2002		     0		     4		        15			      37		        1

2001		     5		     9		        28			      33		        1

2000		     2		     8		        15			      30		        1

1999		     2		     7		        21			      30		        1

1998		     1		     8		        15			      29		        2

Information taken from MIS database, March 11, 2003

Produced by:	Michael Reiser

Engineer

PSS – Kitchener District

Phone:	(519) 883-5682

FAX:	(519) 883-5694

E-Mail:	mike.reiser@mol.gov.on.ca