## Selected Electrical Accidents and Incidents

### Fourth Quarter - October to December, 2000

Date & 	Program	Location	Accident Description

MIS ID #

Accidents - Fatal:

October 14th	Construction	Whitefish	Worker was removing temporary protective coverings for the

74928						Bell and cable lines, using an aluminum ladder.  Ladder

contacted overhead power lines, worker killed.

November 7th	Farming		Percy Township	Farm worker driving a tractor, tractor was towing a trailer.

75820						Trailer load included some farm equipment with an elevated

piece.  Piece contacted overhead line, worker stepped off the

tractor and was electrocuted.

Accidents - Critical:

October 4th	Industrial	Scarborough	Worker doing welding, his finger accidentally touched the

74853						welding wire, received a shock.  Worker felt dizzy, was

reported to have lost consciousness for a short time.

October 11th	Construction	Niagara Falls	Event description stated that a worker contacted a hydro line.

75735						No other details given.

October 25th	Industrial	Sarnia		Welder working inside boiler, cut off a plate.  Plate cut

75365						welding cable, worker received electrical shock as he lifted

plate off cable.  Lost consciousness.

October 25th	Industrial	Concord		Worker working on electrical disconnect.  Explosion occurred,

75779						worker received burns to hands and possible eye injuries.

November 9th	Industrial	Etobicoke	Worker severely burned while doing electrical work.

76175						No details given of work being done.

November 23rd	Industrial	Bolton		Worker changing light bulb, received an electrical shock.

76377						Fell off ladder, hit head and lost consciousness.

November 28th	Industrial	Toronto		Report stated that a worker and a customer received electrical

76672						burns from an electrical incident involving a 600 volt main

switch.  No details given as to work being done at the time.

December 5th	Industrial	Etobicoke	Workers working on refrigeration units.  Working at 600 volt

76703						breaker panel while it was still energized.  Explosion and fire,

both workers received burns.

Accidents - Non-Critical:

October 4th	Construction	Mississauga	While drilling, struck a buried cable.  Driller helper suffered

74784						an electrical shock.

October 11th	Industrial	Toronto		Worker received electrical burns to face and hands while

75102						doing repair work at a hydro substation.  No details given of

work being done.

October 13th	Industrial	Mississauga	Worker received shock while plugging equipment into a fuse

74959						box.  Event description stated that the fuse box was

de-energized at the time.

October 19th	Construction	Oakville		Worker made hydro contact while moving welding machine.

76250						No details given as to nature of contact or extent of injuries.

October 24th	Industrial	Windsor		Worker shocked when he touched live exposed wires.

77015						Power had not been shut off.

November 10th	Industrial	Brampton	Worker contacted electrics at control box, received a shock.

76427						No other details given.

November 20th	Construction	Bridgenorth	Electrical meter shorted and exploded in worker’s face.

77166						Burns to face and hands.

December 2nd	Industrial	Burlington	Worker turned ON light switch, received a shock.  Off work

77615						9 days suffering from an irregular heartbeat.

December 5th	Industrial	London		Worker received an electrical shock while operating a hoist.

77519						No details given on source of electrical fault.

December 6th	Construction	Sudbury		Worker received an electrical flash while doing switching

77813						operations.

December 6th	Industrial	Bowmanville	Worker contacted 600 volt cable.  Taken to hospital, released

78761						the next day.  No other details given.

December 9th	Construction	Toronto		Worker received electrical shock from 600 volt cable feeding

76986						a sump pump.

December 11th	Industrial	Picton		Sidewalk snow plow hit hydro pole, wires fell across plow.

77030						Worker received a minor shock.

December 21st	Construction	Lincoln		Electrical contact accident.  No details given as to work being

78571						done or nature of injuries suffered.  Employer identified as an

electrical contractor.

December 21st	Industrial	Waterloo	Worker grabbed two disconnect wires attached to a

79252						transformer.  Received shock and burns to both hands.

Reportable Incidents - Powerline Contacts:

October 17th	Construction	Vaughan		Dump truck contacted 4800 volt line.

75008

October 17th	Construction	Milton		Bulldozer hit buried hydro cable.

76537

October 18th	Construction	Port Colborne	Backhoe digging a trench, contacted 2400 volt line.

75544

October 20th	Construction	Hamilton	Worker dug up a 4.8kV line.  No locates had been done.

76322

October 25th	Construction	Brampton	Workers doing directional boring, struck a 16 kV primary

75348						line.

October 25th	Construction	Brampton	Contractor cut a 16 kV primary line while digging.  This was a

75498						different event from the one listed above.

October 28	Construction	Oakville		Worker installing cable service contacted residential power

76272&76275					supply.  No injuries.

October 30th	Construction	Guelph		Crane contacted hydro wires.

77473

November 2nd	Construction	Mississauga	Primary 8600 volt cable cut.  No other details given.

75658

November 2nd	Construction	Frogmore	Boom truck contacted 120 volt line while making deliveries.

76344

November 3rd	Construction	Mississauga	Power line contacted.  Locates had been done but a marker in

77291						in the area had been accidentally removed before the incident.

November 6th	Construction	Mississauga	Primary cable cut, no other details given.

75776

November 7th	Construction	Sarnia		Crane contacted overhead line.

80106

November 8th	Construction	Strathroy	Electrical contact, no other details given.

76720

November 8th	Construction	Toronto		Electrical contact over 600 volts.  No other details given.

77882

November 9th	Construction	Etobicoke	Contractor contacted live equipment, no located done before

76038						excavating.

November 13th	Construction	Delta		Backhoe contacted a buried 4.8 kV cable.

77133

November 13th	Construction	Hamilton	Workers repairing roof, wind caused ladder to fall over.

80516						Ladder fell against line side of transformer, blew fuse on

transformer.

November 16th	Construction	Nepean		Backhoe contacted a buried 4 kV cable.

77309

November 17th	Industrial	Waterloo	Dump truck hit overhead wires.

76521

November 22	Construction	Hamilton	Crane hit overhead wires while being dismantled.

76742

November 24th	Construction	Shelburne	Excavating for a sewer, broke a duct bank and hit a 2400 volt

76404						primary cable.

November 30th	Mining		London		Crane contacted 8kV overhead line.

77451

December 1st	Construction	Waterloo	Workers digging under live cables, cables had not yet been

76721						isolated.  Contractor shut down before incident could occur.

December 4th	Construction	Brampton	Worker digging, cut hydro cable.

76704

December 7th	Mining		Sudbury		Worker cut into a live 6.9kV armoured cable.  Ground fault

78011						protection tripped breakers on system.

December 14th	Construction	London		Boom of backhoe hit the neutral of a 27 kV system.  Neutral

77198						bounced up and contacted a phase wire.  Phase wire burnt, fell.

December 15th	Industrial	Brampton	Event described as electrical contact with no injuries.  No

77648						other details given.

December 15th	Construction	Dundas		Relocating wire, two poles contacted each other.  Power

78648						knocked out.

December 19th	Mining		Sudbury		Worker cut into cable, no injuries.

77962

Reportable Incidents - Electrical Equipment:

October 3rd	Industrial	Scarborough	Fire occurred in an electrical vault when a maintenance worker

74608						caused an electrical contact.  No information given about any

injuries to the worker.

# DATA SUMMARY - Fourth Quarter

Fatals:		Critical:	Non-criticals:		Powerline	Electrical

Contacts:	Equipment:

Year 2000	    2		      8		         15			      30		        1

Year 1999	    2		      7		         21			      30		        1

Year 1998	    1		      8		         15			      29		        2

Information taken from MIS database - May 7, 2001

Produced by:	Michael Reiser

Engineer

PSS – Kitchener District

Phone:	(519) 883-5682

FAX:	(519) 883-5694

E-Mail:	mike.reiser@mol.gov.on.ca