## Selected Electrical Accidents and Incidents

Second Quarter - April to June, 2001

Date & 	Program	Location		Accident Description

MIS ID #

Accidents - Fatal:

June 13th	Industrial	Woodbridge	Worker was on top of tractor-trailer unit to move some low

1002377						power lines out of the way.  Worker contacted 16 kV from the

power line.

Accidents - Critical:

April 16th	Industrial	Toronto		Worker doing work in telephone box experienced a shock.

80442						Worker lost consciousness for a moment.  Box was checked

out by other technicians and found to be in good condition.

May 29th		Industrial	Tillsonburg	Worker received shock from an electrical cord, lost

1003701						consciousness.  No other details given.

May 30th		Industrial	Bruce Mines	Worker was felling a tree near a power line, dropped a tree

1001967						onto the line, breaking one of the conductors.  The line came

down and hit the worker across the chest.  Worker lost his arm,

received severe burns to the chest area.

June 5th		Construction	Clarington	Worker received third-degree burns to hands, face and chest

1002114&1004865				while working on a 550 volt service.  No details given as to

work being done at time of accident.

June 6th		Industrial	Scarborough	Certified electrician was using a screwdriver to punch out a

1002212						knockout.  Screwdriver went into the box, cutting insulation on

a wire, energized at 600 volts.  Flash caused burns to face,

chest and worker’s eyes.

June 8th		Industrial	Toronto		Worker was trying to change fuses in the sub-main.  Explosion

1002233						occurred, worker burned to face and hands, eyes blinded.

June 13th	Industrial	Vaughan		Electrical contact while changing a 600 volt fuse in a panel.

1002335						No details given of injuries received, event classified as

CRITICAL in MIS.

June 13th	Industrial	Concord		Worker had an electrical contact while changing a hot water

1002336						heater.  No details given of injuries received, event classified

as CRITICAL in MIS.

June 14th	Industrial	Nanticoke	Two electricians were trouble-shooting the main hoist on an

1002429						overhead crane.  While working on one of the control

interlocks, the hand of one of the electricians contacted

250 VDC.  Worker lost consciousness for a few seconds.

June 18th	Industrial	Cambridge	Worker received a low-voltage shock from the handle of an

1002540						arc welder.  A screw, used to keep the handle from twisting,

contacted the conductor in the handle.  Worker lost

consciousness for a few seconds.

June 19th	Industrial	North Bay	Electrical arc occurred while worker was using a meter to do

1002508						trouble-shooting.  Worker received burns to arm and neck.

Circuit operated at 4160 volts, not known if meter was rated

for that voltage.

June 19th	Industrial	Kitchener	Worker received an electrical shock, lost consciousness for

1005663						a few seconds.  No details given as to work being done or

equipment involved.

June 26th	Construction	Madoc		Worker contacted 7200 volts while working on a roof.  No

1002759 & 1005231				details given on injuries received, event classified as

CRITICAL in MIS.

Accidents - Non-Critical:

April 3rd		Construction	Windsor		Worker was using a multi-meter, arc happened.  Worker had

1002470						slight flash burn.  Will use a better quality meter in future.

April 6th		Industrial	Mississauga	Worker using a spot welder when his right finger was caught

80208						under the welding electrode.  Worker lost his finger.

April 14th	Industrial	Gloucester	Branch fell on bus bars, worker received 2nd degree burns.

1003942

April 27th	Industrial	Brampton	Worker received electrical contact when he touched a

1001279						computer part.  Computer was wired incorrectly, worker

received 110 volt shock, slight burn to left hand and numbness

to left arm.

May 3rd		Industrial	Long Sault	Worker was using an aerial device to cut trees when he

1003806						contacted live wires.  No information given as to injuries

received.  Event classified as non-critical.

May 9th		Construction	Sudbury		Worker cutting a buried cable, cable was still energized.  No

1000694						details given as to injuries received or why cable was still

energized.

May 25th		Industrial	London		Electrician was working on a transformer, suffered burns to

1002066						face, hands and arm.  No details given on work being done.

May 29th		Industrial	St. Catherines	Worker was using an air gun with an electrical attachment.

1002419						Worker received a severe shock from the tool.

June 6th		Industrial	North York	Worker was repairing a machine, breaker was OFF, stored

1002735						charge not dissipated.  Worker received charge of 8000 V at

three amps, received burns to arms and tops of hands.

June 15th	Industrial	Kapuskasing	Worker was using a voltage meter to test a microwave for

1002461						electrical function.  Received a shock as a meter lead touched

a conductor.  Two small wounds required stitches.

June 26th	Mining		Albemarle	Worker was using a meter to check a circuit when it exploded.

1004700				Township	Worker received burns to his hands.

June 27th	Mining		Levack		Workers were monitoring for minerals using a VGGM

1002895				Township	transmitter.  Lightning struck the ground close by the workers,

knocking them off their feet.

Reportable Incidents - Powerline Contacts:

April 3rd		Construction	Devlin		Boom of an AIR-TRAC drill contacted an overhead power

80295				Township	line.

April 4th		Construction	Guelph		Crane contacted 1300 volt power line.

1000747

April 6th		Mining		Red Lake	Worker cut into a 4160 cable while using a reciprocating saw.

80245

April 6th		Construction	Toronto		Worker was chipping concrete, cut into 27.6 kV cable.

1001073						Locates had been done.

April 17th	Construction	St. Thomas	Dump truck contacted 27 kV power line.

1000690

April 17th	Construction	Scarborough	Locates not done properly, no other details of event given.

1000959						Event classified as Power Line Contact in MIS.

April 17th	Construction	Lyndhurst	While tree cutting, dropped a tree on a power line.

1005244

April 23rd	Construction	Belmont		Boom of cement truck contacted 7200 volt power line.

1001254				Township

April 24th	Construction	Toronto		Crane operator contacted overhead power lines.

80778

April 27th	Construction	Etobicoke	Equipment contacted energized electrical equipment

1002734						No other details given.

April 30th	Construction	Sault St. Marie	Utility reported suspected contact of shovel with overhead

81010						power line.  Contractor denies contact happened.

April 30th	Construction	Peterborough	Backhoe hit 2400 volt power line.

1002049

May 3rd		Construction	Etobicoke	Bucket truck hit overhead power line.

1000548

May 4th		Construction	Beamsville	Dump truck hit overhead power line.

1000984

May 9th		Construction	Guelph		Contractor contacted a buried 13.8 kV power line.

1002646

May 16th		Construction	Timmins		Power line contact, no other information given.

1001033

May 17th		Construction	Toronto		Large crane contacted power lines.  Fuses blew, no injuries.

1002714

May 23rd	Construction	Garden River	Tire of skidder hit pole, knocking the wires loose from the

1001265						insulators.

May 23rd	Construction	Toronto		Crane contacted high voltage power lines.

1001447

May 29th		Construction	Vaughan		Backhoe contacted 8000 volt power lines.

1001969

May 31st		Construction	Etobicoke	Crane contacted 27.6 kV overhead power lines.

1002031

May 31st		Construction	Huntsville	Hydro line contact.  No other details given.

1002564

June 6th		Construction	Humphrey	Haulage truck took down power lines and BELL line.

1002124				Township	Box was raised at the time.

June 6th		Construction	Thunder Bay	Backhoe contacted overhead line.

1002797

June 11th	Construction	Sturgeon Falls	Dump truck with raised box hit the BELL cable.  Pole broke,

1003841						BELL cable contacted the power line.

June 12th	Industrial	Etobicoke	Crane operator was using two spotters as he positioned the

1002322						crane boom.  He misjudged the distance, contacted 16 kV line.

June 18th	Construction	Guelph		Raised box of a dump truck contacted secondary of power

1003790						line.

June 20th	Construction	Etobicoke	Machine dug into 13.8 kV buried cable.

1002718

June 21st		Construction	Cambridge	Workers from the local utility noticed a project where digging

1003596						was taking place.  No locates had been done, a 16 kV cable

had been exposed.

June 25th	Construction	Mississauga	High voltage buried cable was cut.  No other details given.

1002738

June 25th	Construction	Etobicoke	Crane contacted 27.8 kV overhead line.

1002769

June 26th	Construction	Clarington	Dump truck with raised box contacted 240 volt line.

1005177						A 13.8 kV line was in close proximity.

Reportable Incidents - Electrical Equipment:

May 25th		Construction	Toronto		Worker put aluminum ladder up against energized bus bars.

1001558						Explosion occurred, no injuries reported.

June 27th	Construction	Sudbury		Worker drilling in a wall above the bus bars.  When he pulled

1002809						the drill out, the drill bit slipped out of his hand and landed on

bus bars.  Power outage occurred, no injuries reported.

# DATA SUMMARY - Second Quarter

Fatals:		Critical:	Non-criticals:		Powerline	Electrical

Contacts:	Equipment:

2001		     1		     13		        12			       32		        2

2000		     2		       5		        22			       34		        1

1999		     2		       9		        22			       32		        0

1998		     2		       4		        17			       30		        0

Information taken from MIS database,  September 26, 2001

Produced by:	Michael Reiser

Engineer

PSS – Kitchener District

Phone:	(519) 883-5682

FAX:	(519) 883-5694

E-Mail:	mike.reiser@mol.gov.on.ca